10A NCAC 14F .1902	EMERGENCY EQUIPMENT

The following equipment and supplies must be available and operable in the event of an emergency and must be maintained according to manufacturer's recommendations:

(1)	suction equipment (portable);

(2)	defibrillator (portable);

(3)	intubation equipment;

(4)	medications;

(5)	oxygen tank supply;

(6)	regulator and mask for nasal cannula; and

(7)	communication system to access emergency medical services.

History Note:	Authority G.S. 131E-169;

Eff. July 1, 2000;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. December 6, 2016.