10A NCAC 14J .1511	OTHER AREAS

(a)  Each facility shall have sufficient storage space.

(b)  Each county jail shall have a medical examining room that at least is equipped with an examining table and a lavatory.

(c)  Each jail with a capacity of more than 20 inmates shall have secure conference areas, and the areas shall not have recording or listening devices.

(d)  All confinement areas shall have adequate floor drains in accordance with approved plans and specifications (see Rule .1535 of this Section).

History Note:	Authority G.S. 153A-220; 153A-221;

Eff. June 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.