10A NCAC 14J .1514	SLIDING DOORS

(a)  Sliding doors shall be made of the same weight and quality of grating or plate as the confinement area fronts or wall in which they are installed.

(b)  Sliding doors shall be approximately two feet x six feet, three inches, and shall be hung from the top by a plate door carriage.

(c)  The door carriage shall have two hardened steel spindles on which will be mounted two needle-bearing or two S.K.F. or approved equal ball-bearing solid steel machined wheels.

(d)  The door carriage shall be enclosed in a covered box of the prescribed type.

History Note:	Authority G.S. 153A-220; 153A-221;

Eff. June 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.