10A NCAC 14J .1527	PROTECTION EQUIPMENT FOR ELECTRICAL LIGHTS

(a)  Each facility shall adequately protect electric lights in cells from damage by inmates.

(b)  Fittings shall be either covered with 3/8 inch tempered lenses for diffusing light or protected with steel wire.

(c)  Steel plate brackets shall be provided for mounting light receptacles.

History Note:	Authority G.S. 153A-220; 153A-221;

Eff. June 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.