10A NCAC 14J .1528	DOOR PULLS

(a)  Swinging plate security doors shall have at least six inch loop pulls of polished aluminum alloy, polished bronze or chrome plated bronze.

(b)  Door pulls shall be secured to doors by security-type patch head screws, spanner screws, or hexagon nuts.

History Note:	Authority G.S. 153A-220; 153A-221;

Eff. June 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. January 5, 2016.