10A NCAC 15 .0303	 EXEMPT CONCENTRATIONS: OTHER THAN SOURCE MATERIAL

(a)  No person shall introduce radioactive material into a product or material knowing or having reason to believe that it will be transferred to persons exempt under Paragraph (d) of this Rule or equivalent regulations of the U.S. Nuclear Regulatory Commission or any agreement state, except in accordance with a specific license issued by the Nuclear Regulatory Commission pursuant to 10 CFR 32.11.

(b)  A manufacturer, processor, or producer of a product or material is exempt from the requirements for a license set forth in the rules of this Section to the extent that this person transfers radioactive material contained in a product or material in concentrations not in excess of those specified in Paragraph (d) of this Rule, and introduced into the product or material by a licensee holding a specific license issued by the U.S. Nuclear Regulatory Commission expressly authorizing such introduction.  This exemption does not apply to the transfer of byproduct material contained in any food, beverage, cosmetic, drug, or other commodity designed for ingestion or inhalation by, or application to, a human being.

(c)  This Rule shall not be deemed to authorize the import of radioactive material or products containing radioactive material.

(d)  Except as provided in Paragraph (a) and (b) of this Rule, any person is exempt from these Rules to the extent that such person receives, possesses, uses, transfers, owns, or acquires products or materials containing radioactive material in concentrations not in excess of those listed in the following table:

EXEMPT CONCENTRATIONS

Column II

Column I			Liquid and

Gas				solid

Element							concentration			concentration

(atomic number)			Isotope			microcurie/ml			microcurie/ml

Antimony (51)			Sb 122							3X10-4

Sb 124							2X10-4

Sb 125							1X10-3

Argon (18)			Ar 37			1X10-3

Ar 41			4X10-7

Arsenic (33)			As 73							5X10-3

As 74							5X10-4

As 76							2X10-4

As 77							8X10-4

Barium (56)			Ba 131							2X10-3

Ba 140							3X10-4

Beryllium (4)			Be 7							2X10-2

Bismuth (83)			Bi 206							4X10-4

Bromine (35)			Br 82			4X10-7				3X10-3

Cadmium (48)			Cd 109							2X10-3

Cd 115m						3X10-4

Cd 115							3X10-4

Calcium (20)			Ca 45							9X10-5

Ca 47							5X10-4

Carbon (6)			C 14			1X10-6				8X10-3

Cerium (58)			Ce 141							9X10-4

Ce 143							4X10-4

Ce 144							1X10-4

Cesium (55)			Cs 131							2X10-2

Cs 134m							6X10-2

Cs 134							9X10-5

Chlorine (17)			Cl 38			9X10-7				4X10-3

Chromium (24)			Cr 51							2X10-2

Cobalt (27)			Co 57							5X10-3

Co 58							1X10-3

Co 60							5X10-4

Copper (29)			Cu 64							3X10-3

Dysprosium (66)			Dy 165							4X10-3

Dy 166							4X10-4

Erbium (68)			Er 169							9X10-4

Er 171							1X10-3

Europium (63)			Eu 152							6X10-4

(Half-life =9.2 Hrs.)

Eu 155							2X10-3

Fluorine (9)			F 18			2X10-6				8X10-3

Gadolinium (64)			Gd 153							2X10-3

Gd 159							8X10-4

Gallium (31)			Ga 72							4X10-4

Germanium (32)			Ge 71							2X10-2

Gold (79)			Au 196							2X10-3

Au 198							5X10-4

Au 199							2X10-3

Hafnium (72)			Hf 181							7X10-4

Hydrogen (1)			H 3			5X10-6				3X10-2

Indium (49)			In 113m							1X10-2

In 114m							2X10-4

Iodine (53)			I 126			3X10-9				2X10-5

I 131			3X10-9				2X10-5

I 132			8X10-8				6X10-4

I 133			1X10-8				7X10-5

I 134			2X10-7				1X10-3

Iridium (77)			Ir 190							2X10-3

Ir 192							4X10-4

Ir 194							3X10-4

Iron (26)				Fe 55							8X10-3

Fe 59							6X10-4

Krypton (36)			Kr 85m			1X10-6

Kr 85			3X10-6

Lanthanum (57)			La 140							2X10-4

Lead (82)			Pb 203							4X10-3

Lutetium (71)			Lu 177							1X10-3

Manganese (25)			Mn 52							3X10-4

Mn 54							1X10-3

Mn 56							1X10-3

Mercury (80)			Hg 197m						2X10-3

Hg 197							3X10-3

Hg 203							2X10-4

Molybdenum (42)		Mo 99							2X10-3

Neodymium (60)			Nd 147							6X10-4

Nd 149							3X10-3

Nickel (28)			Ni 65							1X10-3

Niobium (Columbium)(41)	Nb 95							1X10-3

Nb 97							9X10-3

Osmium (76)			Os 185							7X10-4

Os 191m						3X10-2

Os 191							2X10-3

Os 193							6X10-4

Palladium (46)			Pd 103							3X10-3

Pd 109							9X10-4

Phosphorus (15)			P 32							2X10-4

Platinum (78)			Pt 191							1X10-3

Pt 193m							1X10-2

Pt 197m							1X10-2

Pt 197							1X10-3

Potassium (19)			K 42							3X10-3

Praseodymium (59)		Pr 142							3X10-4

Pr 143							5X10-4

Promethium (61)			Pm 147							2X10-3

Pm 149							4X10-4

Rhenium (75)			Re 183							6X10-3

Re 186							9X10-4

Re 188							6X10-4

Rhodium (45)			Rh 103m						1X10-1

Rh 105							1X10-3

Rubidium (37)			Rb 86							7X10-4

Ruthenium (44)			Ru 97							4X10-4

Ru 103							8X10-4

Ru 105							1X10-3

Ru 106							1X10-4

Samarium (62)			Sm 153							8X10-4

Scandium (21)			Sc 46							4X10-4

Sc 47							9X10-4

Sc 48							3X10-4

Selenium (34)			Se 75							3X10-3

Silicon (14)			Si 31							9X10-3

Silver (47)			Ag 105							1X10-3

Ag 110m						3X10-4

Ag 111							4X10-4

Sodium (11)			Na 24							2X10-3

Strontium (38)			Sr 85							1X10-4

Sr 89							1X10-4

Sr 91							7X10-4

Sr 92							7X10-4

Sulfur (16)			S 35			9X10-8				6X10-4

Tantalum (73)			Ta 182							4X10-4

Technetium (43)			Tc 96m							1X10-1

Tc 96							1X10-3

Tellurium (52)			Te 125m							2X10-3

Te 127m							6X10-4

Te 127							3X10-3

Te 129m							3X10-4

Te 131m							6X10-4

Te 132							3X10-4

Terbium (65)			Tb 160							4X10-4

Thallium (81)			Tl 200							4X10-3

Tl 201							3X10-3

Tl 202							1X10-3

Tl 204							1X10-3

Thulium (69)			Tm 170							5X10-4

Tm 171							5X10-3

Tin (50)				Sn 113							9X10-4

Sn 125							2X10-4

Tungsten (Wolfram) (74)		W 181							4X10-3

W 187							7X10-4

Vanadium (23)			V 48							3X10-4

Xenon (54)			Xe 131m		4X10-6

Xe 133			3X10-6

Xe 135			1X10-6

Ytterbium (70)			Yb 175							1X10-3

Yttrium (39)			Y 90							2X10-4

Y 91m							3X10-2

Y 91							3X10-4

Y 92							6X10-4

Y 93							3X10-4

Zinc (30)			Zn 65							1X10-3

Zn 69m							7X10-4

Zn 69							2X10-2

Zirconium (40)			Zr 95							6X10-4

Zr 97							2X10-4

Beta or gamma emitting					1X10-10				1X10-6

radioactive material not

listed above with half-life

less than 3 years

(e)  In Column I of the table, in Paragraph (d) of this Rule, values are given only for those materials normally used as gases.

(f)  In Column II of the table, in Paragraph (d) of this Rule, the units, microcuries per gram, are used for solids.

(g)  Many radioisotopes disintegrate into isotopes which are also radioactive.  In expressing the concentrations in Paragraph (d) of this Rule, the activity stated is that of the parent isotope and takes into account the daughters.

(h)  For purposes of this Rule, where a combination of isotopes is involved, the limit for the combination shall be derived as follows:  Determine for each isotope in the product the ratio between the concentration present in the product and the exempt concentration established in Paragraph (d) of this Rule for the specific isotope when not in combination. The sum of the ratios shall not exceed unity.  An example of this is:

Concentration of Isotope A in Product	+

Exempt concentration of Isotope A

Concentration of Isotope B in Product	less than or equal to 1

Exempt concentration of Isotope B

History Note:	Authority G.S. 104E-7; 104E-10; 104E-20; 10 CFR 30.70;

Eff. February 1, 1980;

Amended Eff. October 1, 2013; May 1, 1993; June 1, 1989;

Transferred and Recodified from 15A NCAC 11 .0303 Eff. February 1, 2015.