15A NCAC 02B .0722	RANDLEMAN LAKE WATER SUPPLY WATERSHED: WASTEWATER DISCHARGE REQUIREMENTS

(a)  The following is the National Pollutant Discharge Elimination System (NPDES) wastewater discharge management strategy for the Randleman Lake watershed.

(b)  For purposes of this Rule, permitted wastewater discharges means those facilities permitted to discharge domestic wastewater or wastewaters containing phosphorus.

(c)  There shall be no new or expanding permitted wastewater discharges in the watershed with the exception that the City of High Point Eastside Wastewater Treatment Plant may be allowed to expand provided that any new permit contains concentration and mass limits predicted through water quality modeling or other analysis that shows to the Director that discharges will provide a level of water quality in the Randleman Lake that meets all designated uses of those waters.

History Note:	Authority G.S. 143-214.1; 143-214.5; 143-215.3(a)(1);

Eff. April 1, 1999;

Readopted Eff. June 15, 2020 (The provisions of this Rule were transferred from 15A NCAC 02B .0249).