15A NCAc 02c .0114	DATA AND RECORDS REQUIRED

Reports.

(1)	A person completing or abandoning a well, including wells installed using direct push technology (DPT)(e.g., Geoprobe®), shall submit to the Division a record of the construction, on form GW-1, or abandonment, on form GW-30. For water supply wells, a copy of each completion or abandonment record shall also be submitted to the health department responsible for the county in which the well is located. The record shall be on forms provided by the Division and shall include:

(A)	a certification that construction or abandonment was completed as required by this Section;

(B)	the owner's name and address;

(C)	the latitude and longitude of the well with a position accuracy of 100 feet or less;

(D)	the diameter, depth, and yield of the well;

(E)	the chloride concentration for wells installed in the area delineated in Rule .0107(f)(8) of this Section; and

(F)	after submittal of form, any other information necessary as requested by the Department to ensure compliance with G.S. 87-84.

(2)	The certified record of completion or abandonment shall be submitted within a period of thirty days after completion or abandonment. For multiple DPT/Geoprobe® wells having the same construction, only one GW-1 or GW-30 is required to be submitted if the total number of wells is indicated on the form.

(3)	Furnishing of records to any person or agency other than the Division shall not constitute compliance with the reporting requirement and shall not relieve the well contractor of his or her reporting requirement to the Division.

History Note:	Authority G.S. 87-87; 87-88;

Eff. February 1, 1976;

Amended Eff. September 1, 2009; April 1, 2001; December 1, 1992; September 1, 1984; April 20, 1978;

Readopted Eff. September 1, 2019.