15A NCAC 02D .2612	NITROGEN OXIDE TESTING METHODS

(a)  Combustion sources not required to use continuous emissions monitoring to demonstrate compliance with nitrogen oxide emission standards shall demonstrate compliance with nitrogen oxide emission standards using Method 7 or Method 7E of Appendix A to 40 CFR Part 60.

(b)  Method 20 of Appendix A to 40 CFR Part 60 shall be used to demonstrate compliance with nitrogen oxide emissions standards for stationary gas turbines.

History Note:	Authority G.S. 143-215.3(a)(1); 143-215.65; 143-215.66; 143-215.107(a)(5);

Eff. June 1, 2008;

Readopted Eff. November 1, 2019.