15A NCAC 02L .0403	Rule application

This Section shall apply to any discharge or release from a "commercial underground storage tank" or a "noncommercial underground storage tank," as those terms are defined in G.S. 143-215.94A, that is reported on or after January 2, 1998. The requirements of this Section shall apply to the owner and operator of the underground storage tank from which the discharge or release occurred, a landowner seeking reimbursement from the Commercial Leaking Underground Storage Tank Fund or the Noncommercial Leaking Underground Storage Tank Fund under G.S. 143-215.94E, and any other person responsible for the assessment or cleanup of a discharge or release from an underground storage tank, including any person who has conducted or controlled an activity that results in the discharge or release of petroleum or petroleum products as defined in G.S. 143-215.94A(10) to the groundwaters of the State or in proximity thereto; these persons shall be collectively referred to for purposes of this Section as the "responsible party." This Section shall be applied in a manner consistent with the rules found in 15A NCAC 02N in order to assure that the State's requirements regarding assessment and cleanup from underground storage tanks are no less stringent than Federal requirements.

History Note:	Authority G.S. 143-215.2; 143-215.3(a)(1); 143-215.94A; 143-215.94E; 143-215.94T; 143-215.94V; 143B-282; 1995 (Reg. Sess. 1996) c. 648,s. 1;

Recodified from 15A NCAC 02L .0115(b);

Amended Eff. December 1, 2005;

Readopted Eff. June 1, 2019.