15A NCAC 02N .0104	IDENTIFICATION OF TANKS

(a)  Owners and operators shall maintain at each underground storage tank location a current diagram that indicates, for each underground storage tank:

(1)	location with respect to property boundaries and any permanent on-site structures;

(2)	total storage capacity, in gallons;

(3)	the exact type of petroleum product (such as unleaded gasoline, No. 2 fuel oil, diesel) or hazardous substance stored; and

(4)	the year the tank was installed.

(b)  The diagram shall be made available for inspection to authorized representatives of the Division.

History Note:	Authority G.S. 143-215.3(a)(15); 143B-282(a)(2)(h);

Eff. January 1, 1991;

Amended Eff. June 1, 2017;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. March 6, 2018.