SECTION .0200 - PROGRAM SCOPE AND INTERIM PROHIBITION

15A NCAC 02N .0201	APPLICABILITY

The regulations governing "Applicability" set forth in 40 CFR 280.10 are hereby incorporated by reference, excluding any subsequent amendments and editions, except that:

(1)	underground storage tanks (UST) containing de minimis concentrations of regulated substances are also subject to the requirements for permanent closure in Rules .0802 and .0803 of this Subchapter; and

(2)	UST systems that store fuel solely for use by emergency power generators installed on or after November 1, 2007 shall also meet the requirements of Section .0900 of this Subchapter.

History Note:	Authority G.S. 143-215.3(a)(15); 143B-282(a)(2)(h);

Eff. January 1, 1991;

Amended Eff. June 1, 2017; November 1, 2007;

Readopted Eff. January 1, 2021.