15A NCAC 02N .0502	REQUIREMENTS FOR PETROLEUM UST SYSTEMS

The regulations governing "Requirements for petroleum UST systems" set forth in 40 CFR 280.41 are hereby incorporated by reference, excluding any subsequent amendments and editions, except that UST systems located within areas described in Rule .0301(d) of this Subchapter shall meet the requirements for secondary containment described at 40 CFR 280.42(a) through (d) if the UST system installation or replacement was completed before November 1, 2007. UST system or UST system component installations or replacements completed on or after November 1, 2007, shall meet the secondary containment requirements of Section .0900 of this Subchapter.

History Note:	Authority G.S. 143-215.3(a)(15); 143B-282(a)(2)(h);

Eff. January 1, 1991;

Amended Eff. June 1, 2017; November 1, 2007;

Readopted Eff. January 1, 2021.