15A NCAC 02T .0607	CONNECTION TO REGIONAL SYSTEM

If a public or community sewage system is or becomes available, the subject wastewater treatment facilities shall be closed and all wastewater shall be discharged into the public or community sewage system.

History Note:	Authority G.S. 143-215.1; 143-215.3(a);

Eff. September 1, 2006;

Readopted Eff. September 1, 2018.