15A NCAC 02T .0702	DEFINITIONS

As used in this Section, "High-rate infiltration" shall mean any application rate that exceeds 1.75 inches of wastewater effluent per week or 0.156 gallons per day per square foot of land.

History Note:	Authority G.S. 143-215.1; 143-215.3(a);

Eff. September 1, 2006;

Readopted Eff. September 1, 2018.