15A NCAC 02U .0102	SCOPE

The rules in this Subchapter shall apply to all persons proposing to construct, alter, extend, or operate any reclaimed water treatment works, distribution system, or utilization system. The rules in this Section are general requirements that apply to all program rules in this Subchapter.

History Note:	Authority G.S. 143-215.1; 143-215.3(a)(1);

Eff. June 18, 2011;

Readopted Eff. September 1, 2018.