15A NCAC 02U .0802	RESIDUALS MANAGEMENT

(a)  A Residuals Management Plan shall be maintained for all reclaimed water and closed-loop recycle systems that generate residuals. The plan shall include the following:

(1)	an explanation as to how the residuals will be collected, handled, processed, stored, and disposed;

(2)	an evaluation of the residuals storage requirements for the treatment facility, based upon the maximum anticipated residuals production rate and the ability to remove residuals;

(3)	a permit for residuals management or a written commitment to the permittee of a Department-approved residuals management program accepting the residuals that demonstrates that the approved program has capacity to accept the residuals or that an application for approval has been submitted; and

(4)	if oil, grease, grit, or screenings removal and collection is a designed unit process, an explanation as to how these materials will be collected, handled, processed, stored, and disposed.

(b)  The permittee shall maintain a record of all residuals removed from the facility.

History Note:	Authority G.S. 143-215.1; 143-215.3(a);

Eff. June 18, 2011;

Readopted Eff. September 1, 2018.