15A NCAC 18A .1015	DRINKING WATER FACILITIES

Drinking water facilities shall be provided so that water can be dispensed in a sanitary manner. Drinking fountains, if provided, shall be of a sanitary angle-jet design, shall be kept clean and shall be properly regulated.

History Note:	Authority G.S. 130A-248;

Eff. February 1, 1976;

Readopted Eff. December 5, 1977;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.