15A NCAC 18A .1311	LIGHTING AND VENTILATION

(a)  The areas interior to an institution's building or buildings shall be equipped with at least 10 foot candles of light at 30 inches above the floor.

(b)  Ventilation equipment shall be kept clean and in good repair.

(c)  Ambient indoor air temperatures shall be maintained at or below 85 degrees Fahrenheit.

History Note:	Authority G.S. 130A-4; 130A-29; 130A-235;

Eff. February 1, 1976;

Readopted Eff. December 5, 1977;

Amended Eff. March 1, 2003 (see S.L. 2002-160); September 1, 1990; July 1, 1986; October 1, 1985;

Readopted Eff. December 1, 2022.