15A NCAC 18A .1422	NOISE LEVEL AT PERIMETER

The application shall be accompanied by detailed plans for amplifying equipment, which shall be so located and operated as to limit the noise level at the perimeter of the site to no more than 70 decibels on the A scale of a sound level meter which meets the specifications of the American National Standards Institute, which are adopted by reference in accordance with G.S. 150B-14(c). The applicant shall include a signed statement certifying that the noise level limit as herein specified will not be exceeded.

History Note:	Authority G.S. 130A-257;

Eff. February 1, 1976;

Readopted Eff. December 5, 1977;

Amended Eff. September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.