15A NCAC 18A .1507	FLOORS

(a)  All floors shall be so constructed as to be easily cleanable and shall be kept clean and in good repair.

(b)  In all areas in which water is routinely discharged to the floor, or in which the floors are subjected to flooding-type cleaning, floors shall be of nonabsorbent materials, shall be sloped to drain and be provided with floor drains.

History Note:	Authority G.S. 153A-226;

Eff. February 1, 1976;

Readopted Eff. December 5, 1977;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.