15A NCAC 18A .1721	WELL CASING

(a)  For a well constructed after July 1, 1993, the well casing shall be terminated at least 12 inches above the land surface.

(b)  For a well constructed prior to July 1, 1993, the well casing shall be terminated at least six inches above the land surface.

History Note:	Authority G.S. 95-225; 130A-5(3); 130A-228; 130A-230; 130A-235; 130A-236; 130A-248; 130A-257;

Eff. July 1, 1993;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.