15A NCAC 18A .2406	DRINKING FOUNTAINS

(a)  Drinking fountains shall be provided and installed as required by the North Carolina State Building Code. Copies of the North Carolina State Building Code may be obtained from the North Carolina Department of Insurance, P.O. Box 26387, Raleigh, N.C. 27611.

(b)  Fountains shall be provided with adequate water pressure, properly regulated, kept clean and in good repair.

History Note:	Authority G.S. 130A-236;

Eff. January 1, 1986;

Amended Eff. September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.