15A NCAC 18A .2413	DRESSING ROOMS AND SHOWERS

(a)  Floors, walls, and ceilings shall be kept clean and in good repair.

(b)  Floors, walls, and ceilings of shower areas shall be washable and non-absorbent.

(c)  Showers shall be provided and installed as required by the North Carolina State Building Code. Copies of the North Carolina State Building Code may be obtained from the North Carolina Department of Insurance, P.O. Box 26387, Raleigh, N.C. 27611.

(d)  All fixtures shall be kept clean and in good repair.

(e)  Adequate facilities for storage of clothes and other personal items shall be provided and kept clean.

(f)  A clean bath towel and soap shall be provided for each person using the showers.

(g)  All bath towels shall be stored in a sanitary manner.

History Note:	Authority G.S. 130A-236;

Eff. January 1, 1986;

Amended Eff. September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.