15A NCAC 18A .2513	SEWAGE SYSTEMS AND OTHER WASTEWATER DISPOSAL

(a)  Sewage shall be disposed of in a public sewer system or, in the absence of a public sewer system, by an approved, properly operating sanitary sewage system.

(b)  There shall be no direct physical connection between the sewer system and any drain from the swimming pool or circulation system. Overflow from the swimming pool, and discharges from the circulation system, when discharged to the sewer system, storm drain or other approved natural drainage course, shall be discharged through a suitable air gap so as to preclude the possibility of back flow of sewage or other waste water into the swimming pool or the swimming pool piping system. Deck drainage shall be discharged through an indirect drain.

History Note:	Authority G.S. 130A-282;

Eff. May 1, 1991;

Amended Eff. April 1, 1999; July 1, 1992;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.