15a ncac 18a .3508	PRIMITIVE BASE CAMP WATER SUPPLY

(a)  Water supplies shall be provided in accordance with 15A NCAC 18A .1700 Rules Governing the Protection of Water Supplies.

(b)  Water samples for bacteriological analysis from non-community supplies shall be collected by the Department and submitted to the laboratory section of the Department or another laboratory certified by the Department for analysis, and at least annually thereafter for bacteriological analysis.

(c)  Prior to the issuance of a permit, non-community water supplies shall be listed with the Public Water Supply Section, Division of Environmental Health.

(d)  Cross-connections with unapproved water supplies, sewage lines, or other potential sources of contamination are prohibited. Hot and cold water shall be provided to food preparation, utensil and handwashing areas, and any other areas in which water is required for cleaning. Water shall be provided in sufficient quantity to carry out all food preparation, utensil washing, hand washing, cleaning, and other water-using operations.

History Note:	Authority G.S. 130A-248;

Eff. June 1, 2004;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. July 20, 2019.