SECTION .0300 - SUBMISSION OF PLANS: SPECIFICATIONS: AND REPORTS

Rules .0301 - .0308 of Title 15A Subchapter 18C of the North Carolina Administrative Code (T15A.18C .0301 - .0308); has been transferred and recodified from Rules .0901 - .0908 Title 10 Subchapter 10D of the North Carolina Administrative Code (T10.10D .0901 - .0908), effective April 4, 1990.

15A NCAC 18C .0301	APPLICABILITY: PRIOR NOTICE

(a)  All persons, including units of local government, intending to construct, alter, or expand a community or non-transient, non-community water system shall give written notice thereof, including submission of applicable Water System Management Plan, engineering reports, and engineering plans and specifications to the Department, as required by the rules of this Section.  Any construction, alteration, or expansion which affects capacity, hydraulic conditions, operating units, the functioning of water treatment processes or the quality of water to be delivered shall require submission of the documents described in this Paragraph.  A non-community water system using surface water or ground water under the direct influence of surface water shall be subject to the provisions of this Rule.  Non-transient, non-community water systems shall not be subject to the provisions of this Rule unless constructed, altered, or expanded on or after July 1, 1994.

(b)  Water System Management Plan and Engineer=s Report shall be submitted to the Department at least 60 days prior to the date upon which action by the Department is desired.

(c)  All reports, other than those in Paragraph (b) of this Rule, engineering plans and specifications and other data intended for approval shall be submitted to the Department at least 30 days prior to the date upon which action by the Department is desired.

(d) If revisions to the Water System Management Plan are necessary, the system applicant will be notified.  A revised Water System Management Plan will constitute a resubmittal and additional time will be required for review.

(e)  If revisions to the engineering plans or specifications are necessary, the engineer who prepared them will be notified. Revised engineering plans and specifications will constitute a resubmittal and additional time will be required for review.

History Note:	Authority G.S. 130A-315; 130A-317; P.L. 93-523;

Eff. January 1, 1977;

Readopted Eff. December 5, 1977;

Amended Eff. July 1, 1994; September 1, 1990; March 1, 1989; June 30, 1980; September 1, 1979;

Temporary Amendment Eff. October 1, 1999;

Amended Eff. August 1, 2000;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.