15A NCAC 18C .0407	ELECTRICAL SYSTEMS

Electrical wiring and equipment shall comply with applicable provisions of the national, state, and local electrical codes.  Protection against moisture and overheating shall be provided.

History Note:	Authority G.S. 130A-315; 130A-317; P.L. 93-523;

Eff. January 1, 1977;

Readopted Eff. December 5, 1977;

Amended Eff. July 1, 1994;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.