15A NCAC 18C .1106	INSPECTION OF WATERSHEDS

The person or company supplying water from the watershed of an unfiltered source shall employ an adequate number of responsible inspectors and cause satisfactory inspection of the watershed to be made at least at quarterly intervals to assure that the watershed area is at all times maintained in a manner that will promote and insure the sanitary and physical protection of the supply.  A copy of the watershed inspection report shall be submitted to the Public Water Supply Section, within ten days after completion of the inspection.

History Note:	Authority G.S. 130A-315; 130A-320; P.L. 93-523;

Eff. January 1, 1977;

Readopted Eff. December 5, 1977;

Amended Eff. September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.