15A NCAC 18C .1108	CONTINUOUS DISINFECTION OF WATER SUPPLY

The water supply shall be continuously disinfected by means of chlorination or by other methods approved by the Commission for Public Health. Equipment shall be provided to assure uninterrupted disinfection.

History Note:	Authority G.S. 130A-315; 130A-320; P.L. 93-523;

Eff. January 1, 1977;

Readopted Eff. December 5, 1977;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.