15A NCAC 18C .1203	MAINTENANCE OF PARKS

Parks or other places of resort for the use and entertainment of the public which may be established and maintained on a watershed shall be provided with sanitary facilities for the collection of garbage and disposal of sewage.  Such facilities must not cause deterioration of water quality.  Persons in charge of such facilities must maintain these facilities at all times in order to prevent the pollution of the public water system.

History Note:	Authority G.S. 130A-315; 130A-320; P.L. 93-523;

Eff. January 1, 1977;

Readopted Eff. December 5, 1977;

Amended Eff. September 1, 1979;

Transferred and Recodified from 10 NCAC 10D .1302 Eff. April 4, 1990;

Amended Eff. July 1, 1994; September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.