15A NCAC 18C .1304	WATER SYSTEM OPERATION AND MAINTENANCE

(a)  Water systems shall be operated and maintained in accordance with applicable approved engineering plans and specifications, Water System Management Plan and Operation and Maintenance Plan.

(b)  Water systems shall be operated and maintained in accordance with 15A NCAC 18D, Rules Governing Water Treatment Facility Operators, Rule .0206 and G.S. 90A-29.

History Note:	Authority G.S. 90A-29; 130A-315; P.L. 93-523;

Temporary Adoption Eff. October 1, 1999;

Eff. August 1, 2000;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.