15A NCAC 18C .1404	FEEDING EQUIPMENT

Accurate feeding equipment shall be provided for applying fluoride. Either gravimetric or volumetric dry-feed equipment or positive displacement liquid-feed equipment with accuracy within five percent shall be required.

History Note:	Authority G.S. 130A-316;

Eff. February 1, 1976;

Readopted Eff. December 5, 1977;

Amended Eff. September 1, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.