15A NCAC 18C .1502	MONITORING OF CONSECUTIVE PUBLIC WATER SYSTEMS

(a)  When a public water system supplies water to one or more other public water systems the Department may modify the monitoring requirements imposed by this Section to the extent that the interconnection of the systems justifies treating them as a single system for monitoring purposes.  Any modified monitoring shall be conducted pursuant to a schedule specified by the Department and concurred in by the Administrator of the U.S. Environmental Protection Agency.

(b)  All public water systems which purchase water for resale and which do not provide any treatment except booster chlorination will be required to perform bacteriological monitoring in accordance with Rule .1534 of this Section.

(c)  The Department may exempt a public water system that obtains treated water from another public water system serving more than 10,000 persons from conducting compliance monitoring for the organic chemicals under 15A NCAC 18C .1518(a), provided that the system from which the water is obtained has conducted the analyses required under 15A NCAC 18C .1518(a). Exempted public water systems which disinfect are required to monitor under 15A NCAC 18C .1516.

History Note:	Authority G.S. 130A-315; P.L. 93-523; 40 C.F.R. 141;

Eff. September 1, 1979;

Amended Eff. June 1, 1988;

Transferred and Recodified from 10 NCAC 10D .1628 Eff. April 4, 1990;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.