SECTION .1800 - LOCAL PLAN APPROVAL

Rules .1801 - .1805 of Title 15A Subchapter 18C of the North Carolina Administrative Code (T15A.18C .1801 - .1805); has been transferred and recodified from Rules .2601 - .2605 Title 10 Subchapter 10D of the North Carolina Administrative Code (T10.10D .2601 - .2605), effective April 4, 1990.

15A NCAC 18C .1801	LOCAL APPROVAL PROGRAM

This Section implements G.S. 130A-317(d) which authorizes the certification of local programs for approval of the construction or alteration of the distribution system of a community water system.  For purposes of this Section, distribution system means the network of pipes, valves, hydrants and related appurtenances but does not include pumps, storage tanks, treatment devices, wells or other facilities.

History Note:	Authority G.S. 130A-317; 1985 S.L., c. 697, s. 3;

Eff. January 1, 1986;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015.