15A NCAC 18C .1804	NOTICE

(a)  A local approval program shall submit an annual notice to the Department, identifying each approval of construction or alteration of the distribution system of a community water system. The local approval program shall retain a copy of the application and approved engineering plans and shall provide a copy to the Department upon request.

(b)  The local approval program shall provide notice to the department within 10 days of any change in staff, budget, or other resources that may affect the program's ability to carry out the plan review program.

(c)  Upon completion of the construction or alteration of the distribution system, the applicant shall submit a statement to the local approval program, signed by a registered professional engineer, stating that construction was completed in accordance with approved plans and specifications and revised only in accordance with 15A NCAC 18C .0306. The statement shall be based upon observations during and upon completion of construction by the engineer or a representative of the engineer's office who is supervised by the engineer. The local approval program shall provide a copy of the statement to the Department upon request.

History Note:	Authority G.S. 130A-317; 1985 S.L., c. 697, s. 3;

Eff. January 1, 1986;

Amended Eff. December 1, 1988;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. November 23, 2015;

Amended Eff. July 1, 2019.