15A NCAC 18E .0305	SUBMITTAL REQUIREMENTS FOR PLANS, SPECIFICATIONS, AND REPORTS PREPARED BY LICENSED PROFESSIONALS FOR SYSTEMS LESS THAN OR EQUAL TO 3,000 GALLONS/DAY

Plans, specifications, and reports for wastewater systems with a DDF less than or equal to 3,000 gpd that are required to be prepared by an LSS or PE, if required in G.S. 89C or 89E, shall include the information required by the following:

(1)	Rule .0304(1) of this Section;

(2)	Rule .0304(2) of this Section for special site evaluations and submittals prepared under Rule .0510 of this Subchapter; and

(3)	Rule .0304(4) of this Section for advanced pretreatment and IPWW.

History Note:	Authority G.S. 130A-335;

Eff. January 1, 2024.