15A NCAC 18E .0804	SIPHON TANK CAPACITY REQUIREMENTS

Siphon tanks shall be sized to provide the minimum dose requirements of Rule .1101(d) of this Subchapter, plus three inches of freeboard above the siphon trip level.

History Note:	Authority G.S. 130A-335(e), (f), and (f1);

Eff. January 1, 2024.