SECTION .0500 - Irrigation System Installation MINIMUM Standards

21 NCAC 23 .0501	General REQUIREMENTS

(a)  When an irrigation contractor determines that a design provided by others does not meet the minimum standards set forth by the rules of this Chapter or local requirements, the irrigation contractor shall notify the designer in writing of such violations of minimum standards and shall not complete the job until all such minimum standards are met.

(b)  All irrigation system components shall be installed in accordance with manufacturer's specifications, local code requirements, and the requirements of the rules of this Section.

History Note:	Authority G.S. 89G-5;

Eff. July 1, 2011;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. September 22, 2014;

Amended Eff. November 1, 2016.