21 NCAC 23 .0511	OWNER'S MANUAL

(a)  A permanent sticker that contains the irrigation contractor's name, license number, company name and telephone number, and date of completion of the installation shall be affixed to each automatic controller installed by an irrigation contractor.  The information contained on the sticker shall be printed with waterproof ink.

(b)  The irrigation contractor shall, upon completion of any irrigation system or addition to an existing irrigation system, provide an owner's manual to the owner or owner's representative containing each of the following:

(1)	the manufacturer's manual for the automatic controller and all sensors;

(2)	winterization instructions and precautions on protection of the potable water supply; and

(3)	the irrigation record drawing.

History Note:	Authority G.S. 89G-5;

Eff. July 1, 2011;

Pursuant to G.S. 150B-21.3A, rule is necessary without substantive public interest Eff. September 22, 2014;

Amended Eff. November 1, 2016.